## Microwave BOQ
Section 1 - MW Site Survey & Installation
No: | Item Code | MW Link Works – Scope of Activities | Unit | Qty per Site | Region | Province/Region | Installation Working Hours SLA/ Site | Amount (AFN)/ Site | Remarks
1 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Kabul | Kabul
2 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Central (Kabul) | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | MW-INST-01 | • Site survey • MW link installation and pole installation if requred • Routing and cabling • Grounding and lightning protection if needed • Installation of rack and AC/DC equipment if needed • Activation, commissioning, and initial testing and getting customer confirmation • Support, monitoring, and Level-1 troubleshooting | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi
Section 2 - On Site Support / Troubleshooting (Post-Installation)
No: | Item Code | Description | Unit | Qty per Site | Region | Province/Region | Support Working Hours SLA/ Site | Amount (AFN)/ Ticket | Remarks
1 | MW-SUP-01 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Kabul | Kabul
2 | MW-SUP-02 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Central (Kabul) | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | MW-SUP-03 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | MW-SUP-04 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | MW-SUP-05 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | MW-SUP-06 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi
Section 3 - MW Equipment Removal
No: | Item Code | Description | Unit | Qty per Site | Region | Province/Region | Removal Working Hours SLA/ Site | Amount (AFN)/ Site | Remarks
1 | MW-REM-01 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Kabul | Kabul
2 | MW-REM-02 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Central (Kabul) | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | MW-REM-03 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | MW-REM-04 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | MW-REM-05 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | MW-INST-01 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi

## PTP Wireless BOQ
Section 1 - PTP Wireless Site Survey & Installation
No: | Item Code | Technical Scope | Unit | Qty per Site | Region | Province/Region | Installation Working Hours SLA/ Site | Amount (AFN)/ Site | Remarks
1 | PTP-INST-01 | • Installation, activation, and testing of the ISP PTP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Kabul | Kabul
2 | PTP-INST-02 | • Installation, activation, and testing of the ISP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Central Region | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | PTP-INST-03 | • Installation, activation, and testing of the ISP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | PTP-INST-04 | • Installation, activation, and testing of the ISP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | PTP-INST-05 | • Installation, activation, and testing of the ISP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | PTP-INST-06 | • Installation, activation, and testing of the ISP link • Wireless router configuration • Supply and installation of Pole if required • Cabling for the last mile connectivity • Commissioning and testing of the link • Level 1 support and troubleshooting | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi
Section 2 - On Site Support / Troubleshooting (Post-Installation)
No: | Item Code | Description | Unit | Qty per Site | Region | Province/Region | Support Working Hours SLA/ Site | Amount (AFN)/ Ticket | Remarks
1 | PTP-SUP-01 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Kabul | Kabul
2 | PTP-SUP-02 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Central (Kabul) | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | PTP-SUP-03 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | PTP-SUP-04 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | PTP-SUP-05 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | PTP-SUP-06 | Field support and replacement of faulty devices. Routine inspection and preventive maintenance . Timely technical reporting with observation, test result and escalation notes, | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi
Section 3 - PTP Equipment Removal
No: | Item Code | Description | Unit | Qty per Site | Region | Province/Region | Removal Working Hours SLA/ Site | Amount (AFN)/ Site | Remarks
1 | PTP-REM-01 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Kabul | Kabul
2 | PTP-REM-02 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Central (Kabul) | Kapisa Parwan Wardak Logar Panjshir Bamyan Daikuni Ghazni
3 | PTP-REM-03 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Eastern Region | Nangarhar Kunar Laghman Nuristan
4 | PTP-REM-04 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Southern Region | Kandahar Helmand Uruzgan Zabul Khost Paktia Paktika
5 | PTP-REM-05 | Safe removal of MW equipment, including packing, transport, and complete documentation/records | Lot | 1 | Western Region | Herat Farah Badghis Ghor
6 | PTP-REM-06 | Safe removal of PTP equipment + packing/transport + records | Lot | 1 | Northen Region | Balkh Jowzjan Faryab Samangan Sar-e Pol Kunduz Takhar Badakhshan Baghlan Bamyan Daykundi